## READ ME
#VALUE! | SABGSA Flow Meter Installation, Calibration Compliance, & Groundwater Extraction Reporting Form
Submit completed form via Email to: admin@sanantoniobasingsa.org
Purpose of this Form
This form is intended for Well Owners and/or Well Operators installing multiple flow meters and reporting groundwater extraction for non-de minimis production wells (>2AFY) within the San Antonio Creek Valley Groundwater Basin. However, Well Owners and/or Well Operators with a single well are welcome to use it. Each installed flow meter should be entered in a new line on Tab 2. De minimis wells - extracting less than 2AFY solely for domestic purposes - are exempt from metering and reporting requirements and do not need to be included on this form. Wells registered as inactive are required to submit a separate form.
Flow Meter Installation & Calibration Compliance
Due April 1, 2026
Please complete and submit Tab 1 and Tab 2
Tab 1: Contact Info
Tab 2: Well and Meter Info (Columns C-N)
| Instructions: | How to Find Lat/Long Coordinates
Monthly Flow Meter Reading Requirement Beginning April 1, 2026
Beginning April 1, 2026, monthly flow meter readings must be taken within the first five (5) days of each month, even if no extraction occurs in a particular month. To avoid duplication of information and reduce reporting time, additional columns have been added to Tab 2 to document monthly flow meter readings and measurements. The SABGSA encourages Well Owners and/or Operators to use and submit this form for semiannual groundwater extraction reporting, which is due November 1st and May 1st of each year.
Groundwater Extraction / Flow Meter Reporting - Period #1
Due November 1, 2026
Period #1 covers monthly flow meter readings for April through September 2026
Please complete and submit Tab 1 and Tab 2
Tab 1: Contact Info
Tab 2: Well and Meter Info (Columns C-N)
Tab 2: Well Measurement Data for Reporting Period #1 (Columns O-V)
Groundwater Extraction / Flow Meter Reporting - Period #2
Due May 1, 2027
Period #2 covers monthly flow meter readings for October 2026 through March 2027
Please complete and submit Tab 1 and Tab 2
Tab 1: Contact Info
Tab 2: Well and Meter Info (Columns C-N)
Tab 2: Well Measurement Data for Reporting Period #2 (Columns W-AD)
Questions?
Stephanie Bertoux, SABGSA Executive Director
admin@sanantoniobasingsa.org
(805) 451-0841

## 1. Contact Info
San Antonio Basin Groundwater Sustainability Agency (SABGSA)
Please include your SABGSA #:
Landowner Contact Information
First and Last Name:
Business/Ranch Name:
Mailing Address:
Email:
Well Operator Contact Information (if different than above)
First and Last Name:
Business Name:
Mailing Address:
Email:
Attestation of Property Owner or Property Owner's Legal Designee
I attest to and certify that each of the following statements are true and correct.
FALSE | The flow meter with totalizer is installed per the manufacturer's specifications.
FALSE | The flow meter is calibrated with an accuracy range of +/- 5%.
FALSE | Supporting documentation will be provided to the SABGSA upon request.
Submitted by:
Date:

## 2. Well & Meter Info
| Well and Flow Meter Location |  |  |  | Flow Meter Information |  |  |  |  | Installation Information |  | Comments/Notes | Meter Readings for Reporting Period #1 (Apr-Sep 2026) | [7 empty] | Meter Readings for Reporting Period #2 (Oct 2026-Mar 2027) | [7 empty] | Meter Readings for Reporting Period #3 (Apr-Sep 2027) | [7 empty] | Meter Readings for Reporting Period #4 (Oct 2027-Mar 2028)
| Assessor's Parcel Number (APN) | Local Well Name/Number (your internal Well ID, if applicable) | Latitude | Longitude | Well Use Type (Agricultural, Domestic, Municpal, Livestock Watering, etc.) | Flow Meter Make and Model | Flow Meter Serial Number | Flow Meter Units of Measure (Gallons per Minute, Cubic Feet per Second, etc.) | Recommended Schedule for Routine Calibration (per Manufacturer's Specification) | Installation date | Date of Last Calibration | Comments/Notes | 2026-04-01 | 2026-05-01 | 2026-06-01 | 2026-07-01 | 2026-08-01 | 2026-09-01 | Cumulative Total | Comments/Notes for Reporting Period #1 | 2026-10-01 | 2026-11-01 | 2026-12-01 | 2027-01-01 | 2027-02-01 | 2027-03-01 | Cumulative Total | Comments/Notes for Reporting Period #2 | 2027-04-01 | 2027-05-01 | 2027-06-01 | 2027-07-01 | 2027-08-01 | 2027-09-01 | Cumulative Total | Comments/Notes for Reporting Period #3 | 2027-10-01 | 2027-11-01 | 2027-12-01 | 2028-01-01 | 2028-02-01 | 2028-03-01 | Cumulative Total | Comments/Notes for Reporting Period #4
EXAMPLE | 123-456-789 | WELL #1 | xx,xxxxxxx | -xxx.xxxxxxx | Agricultural | McCrometer - Propeller | xxxxxxxxxxxx-xxx | Gallons per Minute (GPM) | 5 years | 2026-01-01 | 2026-01-01 |  | 111023 | 113247 | 115347 | 117298 | 119248 | 121347 | 10324 |  | 123578 | 125788 | 127988 | 129845 | 131987 | 132874 | 9296 |  | 134972 | 137258 | 139888 | 141001 | 143257 | 145247 | 10275 |  | 147999 | 149213 | 151023 | 153027 | 155247 | 157892 | 9893
1 | [18 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
2 | [18 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
3 | [18 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
4 | [18 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
5 | [18 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
6 | [18 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
7 | [18 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
8 | [18 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
9 | [18 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
10 | [18 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
11 | [18 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
12 | [18 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
13 | [18 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
14 | [18 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
15 | [18 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
16 | [18 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
17 | [18 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
18 | [18 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
19 | [18 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
20 | [18 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
21 | [18 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
22 | [18 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
23 | [18 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
24 | [18 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0